## My power usage with evap cooler
Meter | Baseline 13.01.19 | Baseline 20.01.19 | Efficiency Week 27.01.19 | Efficiency + insulation (3 week period) 17.02.19
Electricity meter readout 4 (peak) | 13505 | 13533 | 13560 | 13625
Electricity meter readout 5 (shoulder) | 18272 | 18325 | 18381 | 18506
Electricity meter readout 6 (off peak) | 8648 | 8676 | 8701 | 8748
Electricity used (peak) |  | 28 | 27 | 21.6667
Electricity used (shoulder) |  | 53 | 56 | 41.6667
Electricity used (off peak) |  | 28 | 25 | 15.6667
Total electricity usage one week (KWH) |  | 109 | 108 | 79
Total electricity usage over 12 weeks of summer (KWH) |  | 1308 | 1296 | 948
Total emissions with factor of 0.92 (KG CO2e) |  | 1203.36 | 1192.32 | 872.16
Data & notes
Puchased electricity from the NSW / ACT grid', Table 41, National Greenhouse Accounts Factors combined EF for scope 2 asnd scope 3, latest estimate, published July 2018 at http://www.environment.gov.au/system/files/resources/80f603e7-175b-4f97-8a9b-2d207f46594a/files/national-greenhouse-accounts-factors-july-2018.pdf
A typical 3 bedroom household in my suburb in Canberra uses 1,292 KWH over summer according to https://www.energymadeeasy.gov.au/benchmark

## 3 fans vs evap vs air con
Type of cooler | Maximum power for appliance (W)
Fans - three fans for 3 people
Kambrook High Velocity Pedestal | 80
Heller desk fan | 40
Heller high velocity wall fan | 220
Total for 3 fans | 340
Evaporative cooler - 2 portable coolers
Heller 12L Evaporative Cooler | 60
Evapolar evaSMART V3000 personal cooler | 12
Total for 2 coolers | 72
Portable air conditioners
Heller portable 2.9kW air conditioner | 1100
OR
Heller portable 4.4kW air conditioner | 1650
Data and sources
I assumed a house would use three fans, two portable evaporate coolers or one portable air conditioner. I picked these at random from Officeworks' range and listed their 'maximum wattage' figure for comparison.